[image: image1.png]/\/(/\\J/\\v /\\//\\M\/\\/\

MISSOULA

SBZ ;gcz
QF FivE VAL




DEPARTMENT OF PUBLIC WORKS/BUILDING INSPECTION DIVISION


435 RYMAN STREET / MISSOULA, MT 59802-4297 / OFFICE (406) 552-6040 / FAX (406) 552-6053
MEMO
Date:

October 15, 2010
To:

All Contractors
From:

Tim Netzley, Electrical Inspector and Don Verrue, Building Official
Subject:
GFCI Requirements for New Residential Construction 
When an inspection is requested for a new service panel associated with a new duplex or new single family residence (early permanent service - 225), the electrical permit holder will be required to install at least one 110V GFCI protected receptacle before the service can be approved.

In most cases, the GFCI is installed. The National Electrical Code does not specifically require this. The City of Missoula Building Department is making this practice mandatory before allowing the service to be energized because of deemed life safety issues. The GFCI does protect construction workers from harm and that’s the main concern for all of us.

